## Cover
ESTIMATE
FOR
SCOPE: GC
PROJECT NAME: SQUAIRRELS LEAP GUILDFORD ROAD, CHERTSEY KT16 9RU
DATE: 25TH NOVEMBER 2025

## Qual, Excl & Assum
PROJECT NAME: SQUAIRRELS LEAP GUILDFORD ROAD, CHERTSEY KT16 9RU
DATE: 25TH NOVEMBER 2025
QUALIFICATIONS, ASSUMPTIONS & EXCLUSIONS:
1 | Qualifications:-
1.1 | Prices exclude VAT
1.2 | Pre-start meeting and site investigation will be required before commencement on site
1.3 | Provisional sums and PC Sums mentioned within the estimate are subject to re-measure and re-price
1.4 | Changes to drawings, design or specification which deviate from the information used as stated below may be subject to further cost
1.5 | Site inspections to be carried out, this may cause additions/omissions to the tender documents
1.6 | All quantities are re-measurable and used for indicative purposes only and are subject to re-measure once the project has commenced
1.7 | All M&E is provisional sum (as no detailed design has been provided) and a detailed design will be required in order to finalize costs
1.8 | We have assumed free unfettered access and normal working hours to the site
1.9 | The prices are valid for 8 weeks and we assume that works will commence within 12 weeks from the date of this estimate
1.1 | No level surveys have been provided so all excavation quantities are provisional
1.11 | There may be some items where alternative specification is used and these may differ to the specification provided
1.12 | Any items not mentioned within this estimate have been specifically excluded and will be subject to further costs
2 | The following items are to be organized and paid for by the client and are excluded from the total cost:
2.1 | Building insurance
2.2 | Utility and council tax bills
2.3 | Party Wall costs and complying with conditions
2.4 | Building control and costs
2.5 | Structural engineers' and building regulation details
2.6 | Specialist surveys
2.7 | Topographical surveys
2.8 | CCTV drainage surveys
2.9 | Asbestos surveys
3 | The following assumptions have been made in drawing up the costs:-
3.1 | Any items noted as install only are provisional sums, the install price is subject to change following specification being provided
3.2 | Any items noted as client supply, the client will supply any adhesives or sundries required to get the works complete
3.3 | Skips and rubbish removal are provisional quantity and are subject to re-measure
3.4 | Drainage works are provisional sum as a full site survey will be required
3.5 | Connection into existing drainage is provisional sum
3.6 | Making good areas are subject to re-measure
3.7 | All M&E is assumed and to be confirmed by client and specialist (Provisional Sum)
3.8 | All excavations are machine dug, we have not allowed for hand excavation
3.9 | All decoration is assumed mid range paint supply, prices do not cover premium paints
3.1 | All external works are provisional
3.11 | All finishes have been assumed therefore they are provisional
3.12 | All electrical points are PC Sum to supply until specification is provided
3.13 | Due to a lack of details and specification all item have been assumed and to be confirmed
3.14 | Structural timberwork and steelwork is provisional sum due to the lack of details
3.15 | All internal wall build up has been assumed and to be confirmed
3.16 | Lower floor slab reinforcement is assumed
3.17 | Lower floor structural floor work is assumed
3.18 | Allowance is considered for mechanical works
3.19 | Bath accessories are assumed
4 | No allowance has been made in this estimate for the following:
4.1 | Professional fees
4.2 | Price and design risk
4.3 | Inflation beyond the financial quarter of the date mentioned in this estimate
4.4 | Contaminated ground, high water table, obstructions or build over agreements (services or drainage diversions)
4.5 | Moving or altering existing services running over or under the site
4.6 | Alterations or upgrades for incoming supplies or trenches
4.7 | Floor finishes apart from the ones specified
4.8 | Tin hat (temporary roof) to the scaffolding
4.9 | Bespoke joinery
4.1 | Temporary works
4.11 | Skip permits or parking permits
4.12 | Internal foundations
4.13 | Supply of windows, doors and roof light
4.14 | Supply of internal doors & ironmongery
4.15 | Supply of skirting and architraves
4.16 | A/C

## Documents
PROJECT NAME: SQUAIRRELS LEAP GUILDFORD ROAD, CHERTSEY KT16 9RU
DATE: 25TH NOVEMBER 2025
INFORMATION USED
The information used in the preparation of this estimate are as listed below:
Document reference:
HR91-02-1001
HR91-02-1002
HR91-02-1003
HR91-02-1004
HR91-02-1005
PHOTOS

## Summary
PROJECT NAME: SQUAIRRELS LEAP GUILDFORD ROAD, CHERTSEY KT16 9RU
DATE: 25TH NOVEMBER 2025
TOTALS
SUMMARY |  |  | LABOUR | MATERIALS | L MARKUP | M MARKUP | Check | #NAME?
Demolition |  | 6743.232 | 5863.68 | 0 | 879.552 | 0 | 0
Substructure |  | 196289.5501 | 75449.5385 | 95237.0268 | 11317.4308 | 14285.554 | 0
Superstructure |  | 126000.7669 | 34776.8848 | 74788.9995 | 5216.5327 | 11218.3499 | 0
Structural Steelwork |  | 30426.6435 | 8397.9162 | 18060.0348 | 1259.6874 | 2709.0052 | 0
Roof |  | 71570.6153 | 19753.8722 | 42481.4455 | 2963.0808 | 6372.2168 | 0
Windows, Doors & Rooflights |  | 54931.2738 | 15161.325 | 32605 | 2274.1988 | 4890.75 | 0
Partitions |  | 30047.4987 | 8293.2702 | 17834.9896 | 1243.9905 | 2675.2484 | 0
Joinery |  | 24948.3929 | 6885.8897 | 14808.365 | 1032.8835 | 2221.2548 | 0
Decoration |  | 34361.9041 | 9484.0691 | 20395.8475 | 1422.6104 | 3059.3771 | 0
Floor Finishes |  | 43364.2099 | 11968.7536 | 25739.255 | 1795.313 | 3860.8883 | 0
Wall Finishes |  | 13910.2874 | 3839.3136 | 8256.5884 | 575.897 | 1238.4883 | 0
Kitchens & Bathrooms |  | 34577.312 | 9543.5228 | 20523.705 | 1431.5284 | 3078.5558 | 0
Electrical |  | 92349.1652 | 25488.8629 | 54814.759 | 3823.3294 | 8222.2139 | 0
Mechanical & Plumbing |  | 55331.166 | 15271.6974 | 32842.36 | 2290.7546 | 4926.354 | 0
Externals |  | 28260.7631 | 7800.1216 | 16774.455 | 1170.0182 | 2516.1683 | 0
SUB TOTAL |  | 843112.7808 | 257978.7174 | 475162.8311 | 38696.8076 | 71274.4247 | 0
Preliminaries |  | 0
Overhaed & Profits |  | 18000
TOTAL COST (EXCLUDING VAT) |  | 861112.7808
Anticipated Number of Weeks | 0 | Weeks

## Demolition
PROJECT NAME: SQUAIRRELS LEAP GUILDFORD ROAD, CHERTSEY KT16 9RU
DATE: 25TH NOVEMBER 2025
| Demolition |  |  |  |  | RATES |  |  |  | TOTALS
| Description | Quantity | Unit | Rate | Total | Labor | Materials | L Markup | M Markup | Labor | Materials | L Markup | M Markup
1 | Remove Septic Tank | 1 | no. | 419.75 | 419.75 | 365 |  | 54.75 | 0 | 365 | 0 | 54.75 | 0
2 | Wall To Be Removed (3m H) | 250.8 | m2 | 18.975 | 4758.93 | 16.5 |  | 2.475 | 0 | 4138.2 | 0 | 620.73 | 0
3 | Area For Stair Removal | 1.42 | m2 | 25.875 | 36.7425 | 22.5 |  | 3.375 | 0 | 31.95 | 0 | 4.7925 | 0
4 | Area For Removal Of (Flooring & Ceiling) And All Other Items (Lighting, Mechanical, Plumbing, Opening, Equipment) | 37.62 | m2 | 17.825 | 670.5765 | 15.5 |  | 2.325 | 0 | 583.11 | 0 | 87.4665 | 0
5 | Roofing To Be Removed | 31.72 | m2 | 27.025 | 857.233 | 23.5 |  | 3.525 | 0 | 745.42 | 0 | 111.813 | 0
|  |  |  | Sub Total | 6743.232 |  |  |  |  | 5863.68 | 0 | 879.552 | 0

## Substructure
PROJECT NAME: SQUAIRRELS LEAP GUILDFORD ROAD, CHERTSEY KT16 9RU
DATE: 25TH NOVEMBER 2025
| Substructure |  |  |  |  | RATES |  |  |  | TOTALS
| Description | Quantity | Unit | Rate | Total | Labor | Materials | L Markup | M Markup | Labor | Materials | L Markup | M Markup
LOWER FLOOR EXCAVATION
1 | Excavate Lower Floor; | 445.98 | m3 | 48.875 | 21797.2725 | 42.5 |  | 6.375 | 0 | 18954.15 | 0 | 2843.1225 | 0
2 | Cart away spoil (assume clean and inert) | 353.918 | m3 | 39.675 | 14041.6967 | 34.5 |  | 5.175 | 0 | 12210.171 | 0 | 1831.5257 | 0
FOUNDATION WORK
3 | 1800X1800X300mm Footing Pad (08 EA) | 7.776 | m3 | 480.9961 | 3740.2259 | 132.7575 | 285.5 | 19.9136 | 42.825 | 1032.3223 | 2220.048 | 154.8483 | 333.0072
4 | Formwork | 17.28 | m2 | 37.9069 | 655.0308 | 10.4625 | 22.5 | 1.5694 | 3.375 | 180.792 | 388.8 | 27.1188 | 58.32
5 | 300 mm Thick Concrete Retaining Wall (H = 3.4 M) w/ 16 mm @ 150 mm c/c vertical, 12 mm @ 200 mm c/c horizontal Bars & front face: 10 mm @ 250 mm c/c | 46.0326 | m3 | 480.9961 | 22141.5022 | 132.7575 | 285.5 | 19.9136 | 42.825 | 6111.1729 | 13142.3073 | 916.6759 | 1971.3461
6 | 150 mm Thick Rigid Insulation | 153.442 | m2 | 22.7441 | 3489.904 | 6.2775 | 13.5 | 0.94163 | 2.025 | 963.2322 | 2071.467 | 144.4848 | 310.7201
7 | 150 mm Thick Thick Masonry/Block Wall | 153.442 | m2 | 53.0696 | 8143.1094 | 14.6475 | 31.5 | 2.1971 | 4.725 | 2247.5417 | 4833.423 | 337.1313 | 725.0135
8 | Waterproofing | 153.442 | m2 | 716.0187 | 109867.349 | 197.625 | 425 | 29.6438 | 63.75 | 30323.9753 | 65212.85 | 4548.5963 | 9781.9275
9 | Formwork | 153.442 | m2 | 37.9069 | 5816.5067 | 10.4625 | 22.5 | 1.5694 | 3.375 | 1605.3869 | 3452.445 | 240.808 | 517.8668
SLABS
10 | 300 mm Thick Concrete Slab on Grade (154 m2) w/ 16 mm @ 150 mm c/c (primary direction), 12 mm @ 150–200 mm c/c (secondary direction) & 16 mm @ 150 mm c/c top bars | 46.101 | m2 | 61.4934 | 2834.9061 | 16.9725 | 36.5 | 2.5459 | 5.475 | 782.4492 | 1682.6865 | 117.3674 | 252.403
11 | 10 MIL Vapor Retarder | 154 | m2 | 24.4289 | 3762.0468 | 6.7425 | 14.5 | 1.0114 | 2.175 | 1038.345 | 2233 | 155.7518 | 334.95
Check
|  |  |  | Sub Total | 196289.5501 |  |  |  |  | 75449.5385 | 95237.0268 | 11317.4308 | 14285.554 | 0

## Superstructure
PROJECT NAME: SQUAIRRELS LEAP GUILDFORD ROAD, CHERTSEY KT16 9RU
DATE: 25TH NOVEMBER 2025
| Superstructure |  |  |  |  | RATES |  |  |  | TOTALS
| Description | Quantity | Unit | Rate | Total | Labor | Materials | L Markup | M Markup | Labor | Materials | L Markup | M Markup
CAVITY WALL
1 | 100 mm Thick Masonry Brick Wall | 342.709 | m2 | 54.7544 | 18764.8171 | 15.1125 | 32.5 | 2.2669 | 4.875 | 5179.1898 | 11138.0425 | 776.8785 | 1670.7064
2 | 100 mm Thick Rigid Insulation | 342.709 | m2 | 22.7441 | 7794.6163 | 6.2775 | 13.5 | 0.94163 | 2.025 | 2151.3557 | 4626.5715 | 322.7034 | 693.9857
3 | 150 mm Thick Masonry Block Wall | 450.32 | m2 | 58.1239 | 26174.3434 | 16.0425 | 34.5 | 2.4064 | 5.175 | 7224.2586 | 15536.04 | 1083.6388 | 2330.406
4 | 300 mm Thick Masonry Block Wall | 107.619 | m2 | 71.6019 | 7705.7222 | 19.7625 | 42.5 | 2.9644 | 6.375 | 2126.8205 | 4573.8075 | 319.0231 | 686.0711
FLOOR CONSTRUCTION
5 | 50 x 170 C24 @ 400 mm C/C | 540.6429 | m | 26.1136 | 14118.1459 | 7.2075 | 15.5 | 1.0811 | 2.325 | 3896.6837 | 8379.9649 | 584.5026 | 1256.9947
6 | 50 x 200 C24 @ 400 mm C/C | 870.8283 | m | 29.4831 | 25674.7396 | 8.1375 | 17.5 | 1.2206 | 2.625 | 7086.3653 | 15239.4952 | 1062.9548 | 2285.9243
7 | 75 x 200 C24 @ 400 mm C/C | 206.5 | m | 32.8526 | 6784.0671 | 9.0675 | 19.5 | 1.3601 | 2.925 | 1872.4387 | 4026.75 | 280.8658 | 604.0125
8 | 9 mm Thick OSB3 Roof Sheathing | 239.4185 | m2 | 19.6273 | 4699.1473 | 5.4173 | 11.65 | 0.81259 | 1.7475 | 1296.9898 | 2789.2253 | 194.5485 | 418.3838
9 | 18 mm WBP Plywood | 417.93 | m2 | 19.9643 | 8343.6747 | 5.5103 | 11.85 | 0.82654 | 1.7775 | 2302.8988 | 4952.4705 | 345.4348 | 742.8706
STONE & BRICK WORK
10 | 200 mm High Soldier Course | 11.93 | m | 37.9069 | 452.229 | 10.4625 | 22.5 | 1.5694 | 3.375 | 124.8176 | 268.425 | 18.7226 | 40.2638
11 | 75 mm High Soldier Course Sill | 8.88 | m | 29.4831 | 261.8102 | 8.1375 | 17.5 | 1.2206 | 2.625 | 72.261 | 155.4 | 10.8392 | 23.31
LINTELS
12 | 50x100 C24 Engineered Timber Lintels | 21.41 | m | 22.7441 | 486.9517 | 6.2775 | 13.5 | 0.94163 | 2.025 | 134.4013 | 289.035 | 20.1602 | 43.3553
13 | 50x300 C24 Engineered Timber Lintels | 2.32 | m | 28.388 | 65.8602 | 7.8353 | 16.85 | 1.1753 | 2.5275 | 18.1778 | 39.092 | 2.7267 | 5.8638
14 | Catanic CG Lintel | 30.64 | m | 32.8526 | 1006.6044 | 9.0675 | 19.5 | 1.3601 | 2.925 | 277.8282 | 597.48 | 41.6742 | 89.622
STAIRCASE
15 | 63 x 200 mm Stringer @ Stairs | 20.32 | m | 71.6019 | 1454.9501 | 19.7625 | 42.5 | 2.9644 | 6.375 | 401.574 | 863.6 | 60.2361 | 129.54
16 | 1000mm Wide Timber Stairs (Risers 16, 293.60mm & Goings, 230mm) | 2 | no. | 379.0688 | 758.1375 | 104.625 | 225 | 15.6938 | 33.75 | 209.25 | 450 | 31.3875 | 67.5
17 | 900 mm High Wood Railing | 20.32 | m | 71.6019 | 1454.9501 | 19.7625 | 42.5 | 2.9644 | 6.375 | 401.574 | 863.6 | 60.2361 | 129.54
Check
|  |  |  | Sub Total | 126000.7669 |  |  |  |  | 34776.8848 | 74788.9995 | 5216.5327 | 11218.3499 | 1.9099e-11

## Structural Steelwork
PROJECT NAME: SQUAIRRELS LEAP GUILDFORD ROAD, CHERTSEY KT16 9RU
DATE: 25TH NOVEMBER 2025
| Structural Steelwork & Timberwork |  |  |  |  | RATES |  |  |  | TOTALS
| Description | Quantity | Unit | Rate | Total | Labor | Materials | L Markup | M Markup | Labor | Materials | L Markup | M Markup
| STRUCTURAL STEELWORK | [14 empty] | STRUCTURAL STEELWORK
BEAMS
1 | 200x90x30 PFC | 15.32 | m | 115.4054 | 1768.0103 | 31.8525 | 68.5 | 4.7779 | 10.275 | 487.9803 | 1049.42 | 73.197 | 157.413 |  | 1 |  | m | 115.4054 | 1768.0103 | 0 | 0 | 4.7779 | 10.275 | 487.9803 | 1049.42 | 73.197 | 157.413 | 0
2 | UC152x152 | 11.6655 | m | 91.8189 | 1071.1131 | 25.3425 | 54.5 | 3.8014 | 8.175 | 295.6329 | 635.7697 | 44.3449 | 95.3655
3 | UC152x152 Steel Beam | 81.61 | m | 91.8189 | 7493.3384 | 25.3425 | 54.5 | 3.8014 | 8.175 | 2068.2014 | 4447.745 | 310.2302 | 667.1618
4 | UC203x203 | 36.04 | m | 122.1444 | 4402.0833 | 33.7125 | 72.5 | 5.0569 | 10.875 | 1214.9985 | 2612.9 | 182.2498 | 391.935
5 | UC203x203 Steel Beam | 14.82 | m | 122.1444 | 1810.1796 | 33.7125 | 72.5 | 5.0569 | 10.875 | 499.6192 | 1074.45 | 74.9429 | 161.1675
6 | UC254x254x132 Steel Beam | 14.83 | m | 128.8834 | 1911.3405 | 35.5725 | 76.5 | 5.3359 | 11.475 | 527.5402 | 1134.495 | 79.131 | 170.1743
7 | UC305x305 Steel Beam | 14.81 | m | 137.3071 | 2033.5185 | 37.8975 | 81.5 | 5.6846 | 12.225 | 561.262 | 1207.015 | 84.1893 | 181.0523
COLUMNS
8 | SHS Column 100x5 (08 EA, 6.5 M High) | 51.2 | m | 194.0832 | 9937.0598 | 53.568 | 115.2 | 8.0352 | 17.28 | 2742.6816 | 5898.24 | 411.4022 | 884.736
Check
|  |  |  | Sub Total | 30426.6435 |  |  |  |  | 8397.9162 | 18060.0348 | 1259.6874 | 2709.0052 | 5.457e-12
Remove Steelwork

## Roof
PROJECT NAME: SQUAIRRELS LEAP GUILDFORD ROAD, CHERTSEY KT16 9RU
DATE: 25TH NOVEMBER 2025
| Roof |  |  |  |  | RATES |  |  |  | TOTALS
| Description | Quantity | Unit | Rate | Total | Labour | Materials | L Markup | M Markup | Labour | Materials | L Markup | M Markup
PITCHED ROOF
1 | Tiles; Slat Roof tiles | 239.42 | m2 | 91.8189 | 21983.2751 | 25.3425 | 54.5 | 3.8014 | 8.175 | 6067.5013 | 13048.39 | 910.1252 | 1957.2585
2 | Battens; 25mm x 38mm | 239.42 | m2 | 58.1239 | 13916.0182 | 16.0425 | 34.5 | 2.4064 | 5.175 | 3840.8953 | 8259.99 | 576.1343 | 1238.9985
3 | Breather membrane (Klober Permo Air 160) | 239.42 | m2 | 27.7984 | 6655.4869 | 7.6725 | 16.5 | 1.1509 | 2.475 | 1836.9499 | 3950.43 | 275.5425 | 592.5645
4 | 150mm PIR Inulation | 239.42 | m2 | 24.4289 | 5848.7613 | 6.7425 | 14.5 | 1.0114 | 2.175 | 1614.2894 | 3471.59 | 242.1434 | 520.7385
5 | Klober Wallint 50 AVCL | 239.42 | m2 | 42.9611 | 10285.7525 | 11.8575 | 25.5 | 1.7786 | 3.825 | 2838.9226 | 6105.21 | 425.8384 | 915.7815
6 | Exterior Grade Plywood Sheathing | 239.42 | m2 | 21.3121 | 5102.54 | 5.8823 | 12.65 | 0.88234 | 1.8975 | 1408.3283 | 3028.663 | 211.2492 | 454.2995
ROOF SUNDRIES
7 | Ridge | 48.44 | m | 29.4831 | 1428.1626 | 8.1375 | 17.5 | 1.2206 | 2.625 | 394.1805 | 847.7 | 59.1271 | 127.155
8 | Valley | 24.22 | m | 27.7984 | 673.2766 | 7.6725 | 16.5 | 1.1509 | 2.475 | 185.8279 | 399.63 | 27.8742 | 59.9445
9 | Hips | 8.55 | m | 29.0619 | 248.4796 | 8.0213 | 17.25 | 1.2032 | 2.5875 | 68.5817 | 147.4875 | 10.2873 | 22.1231
SOFFITS AND FASCIAS - UPVC
10 | 600 mm Soffit | 14.78 | m | 37.9069 | 560.2636 | 10.4625 | 22.5 | 1.5694 | 3.375 | 154.6358 | 332.55 | 23.1954 | 49.8825
11 | Fascia | 48.9 | m | 41.2764 | 2018.4147 | 11.3925 | 24.5 | 1.7089 | 3.675 | 557.0933 | 1198.05 | 83.564 | 179.7075
RAINWATER GOODS - UPVC
12 | Gutters | 23.34 | m | 44.6459 | 1042.0347 | 12.3225 | 26.5 | 1.8484 | 3.975 | 287.6071 | 618.51 | 43.1411 | 92.7765
13 | Downpipes | 45.67 | m | 39.5916 | 1808.1495 | 10.9275 | 23.5 | 1.6391 | 3.525 | 499.0589 | 1073.245 | 74.8588 | 160.9868
Check
|  |  |  | Sub Total | 71570.6153 |  |  |  |  | 19753.8722 | 42481.4455 | 2963.0808 | 6372.2168 | 3.638e-12

## Windows, Doors & Rooflights
1
| PROJECT NAME: SQUAIRRELS LEAP GUILDFORD ROAD, CHERTSEY KT16 9RU | [14 empty] | UPVC | UPVC
| DATE: 25TH NOVEMBER 2025 | [14 empty] | Doors | Windows | Roof lights
[16 empty] | 750 | 250 | 800
| External Windows, Doors and Roof lights | [6 empty] | RATES |  |  |  | TOTALS
| Description |  |  | Quantity | Unit | Rate | Total | Labor | Materials | L Markup | M Markup | Labor | Materials | L Markup | M Markup
|  | Approx. | Approx.
| DOORS | Width (mm) | Height (mm)
1 | Single Leaf Door w/ Frame | 800 | 1900mm | 20 | no. | 1255.1388 | 25102.775 | 346.425 | 745 | 51.9638 | 111.75 | 6928.5 | 14900 | 1039.275 | 2235
2 | Single Leaf Door w/ Frame | 1200 | 2400 | 1 | no. | 1288.8338 | 1288.8338 | 355.725 | 765 | 53.3588 | 114.75 | 355.725 | 765 | 53.3588 | 114.75
3 | Single Leaf Door W/ Two Fixed Panels On Both Sides w/ Frame | 2000 | 2400 | 1 | no. | 1322.5288 | 1322.5288 | 365.025 | 785 | 54.7538 | 117.75 | 365.025 | 785 | 54.7538 | 117.75
4 | Single Leaf Side Lite Door w/ Frame | 1600 | 2000 | 1 | no. | 1373.0712 | 1373.0712 | 378.975 | 815 | 56.8463 | 122.25 | 378.975 | 815 | 56.8463 | 122.25
5 | Double Leaf Side Lite Door w/ Frame | 2900 | 2000 | 2 | no. | 1423.6137 | 2847.2275 | 392.925 | 845 | 58.9388 | 126.75 | 785.85 | 1690 | 117.8775 | 253.5
6 | Garage Door | 4800 | 2400 | 1 | no. | 2442.8875 | 2442.8875 | 674.25 | 1450 | 101.1375 | 217.5 | 674.25 | 1450 | 101.1375 | 217.5
7 | Double Leaf Door w/ Frame | 1200 | 1900 | 2 | no. | 1937.4625 | 3874.925 | 534.75 | 1150 | 80.2125 | 172.5 | 1069.5 | 2300 | 160.425 | 345
8 | Sliding Door w/ Frame | 1700 | 1900 | 1 | no. | 1625.7837 | 1625.7837 | 448.725 | 965 | 67.3088 | 144.75 | 448.725 | 965 | 67.3088 | 144.75
| WINDOWS | Width (mm) | Height (mm)
9 | Window W/ Frame | 900 | 1600 | 5 | no. | 918.1887 | 4590.9437 | 253.425 | 545 | 38.0138 | 81.75 | 1267.125 | 2725 | 190.0688 | 408.75
10 | Four Panel Window w/ Frame | 5900 | 2400 | 1 | no. | 2105.9375 | 2105.9375 | 581.25 | 1250 | 87.1875 | 187.5 | 581.25 | 1250 | 87.1875 | 187.5
11 | Window W/ Frame | 700 | 1600 | 2 | no. | 867.6463 | 1735.2925 | 239.475 | 515 | 35.9213 | 77.25 | 478.95 | 1030 | 71.8425 | 154.5
12 | Window W/ Frame | 700 | 1800 | 2 | no. | 901.3412 | 1802.6825 | 248.775 | 535 | 37.3163 | 80.25 | 497.55 | 1070 | 74.6325 | 160.5
13 | Window W/ Frame | 1900 | 1700 | 2 | no. | 1086.6637 | 2173.3275 | 299.925 | 645 | 44.9888 | 96.75 | 599.85 | 1290 | 89.9775 | 193.5
14 | Window w/ Frame | 2700 | 1600 | 1 | no. | 1221.4437 | 1221.4437 | 337.125 | 725 | 50.5688 | 108.75 | 337.125 | 725 | 50.5688 | 108.75
15 | Window/ W/ Frame | 2000 | 1600 | 1 | no. | 1423.6137 | 1423.6137 | 392.925 | 845 | 58.9388 | 126.75 | 392.925 | 845 | 58.9388 | 126.75
[6 empty] | Sub Total | 54931.2738 |  |  |  |  | 15161.325 | 32605 | 2274.1988 | 4890.75

## Partitions
PROJECT NAME: SQUAIRRELS LEAP GUILDFORD ROAD, CHERTSEY KT16 9RU
DATE: 25TH NOVEMBER 2025
| Internal Walls and Partitions |  |  |  |  | RATES |  |  |  | TOTALS
| Description | Quantity | Unit | Rate | Total | Labor | Materials | L Markup | M Markup | Labor | Materials | L Markup | M Markup
STUD WALL
1 | 38 x 89 mm Wood Studs | 339.22 | m | 22.9968 | 7800.9872 | 6.3473 | 13.65 | 0.95209 | 2.0475 | 2153.1141 | 4630.353 | 322.9671 | 694.553
2 | 38 x 89 mm Top Plates | 96.92 | m | 22.9968 | 2228.8535 | 6.3473 | 13.65 | 0.95209 | 2.0475 | 615.1755 | 1322.958 | 92.2763 | 198.4437
3 | 38 x 89 mm Bottom Plates | 48.46 | m | 22.9968 | 1114.4267 | 6.3473 | 13.65 | 0.95209 | 2.0475 | 307.5877 | 661.479 | 46.1382 | 99.2219
WALLS
4 | 12.5 mm Thick Moisture Resistant Plaster Board | 77.8624 | m2 | 20.6382 | 1606.9388 | 5.6963 | 12.25 | 0.85444 | 1.8375 | 443.5237 | 953.8144 | 66.5286 | 143.0722
5 | 12.5 mm Thick Plaster Board | 135.688 | m2 | 19.6273 | 2663.1942 | 5.4173 | 11.65 | 0.81259 | 1.7475 | 735.0558 | 1580.7652 | 110.2584 | 237.1148
CEILINGS
6 | 12.5 mm Thick Moisture Resistant Plaster Board Ceiling | 35.72 | m2 | 29.4831 | 1053.1372 | 8.1375 | 17.5 | 1.2206 | 2.625 | 290.6715 | 625.1 | 43.6007 | 93.765
7 | 12.5 mm Thick Plaster Board Ceiling | 374.88 | m2 | 27.7984 | 10421.0548 | 7.6725 | 16.5 | 1.1509 | 2.475 | 2876.2668 | 6185.52 | 431.44 | 927.828
RAILINGS
8 | 600 mm High Glass Railing | 15 | m | 210.5938 | 3158.9062 | 58.125 | 125 | 8.7188 | 18.75 | 871.875 | 1875 | 130.7813 | 281.25
Check
|  |  |  | Sub Total | 30047.4987 |  |  |  |  | 8293.2702 | 17834.9896 | 1243.9905 | 2675.2484 | -6.8212e-12

## Joinery
PROJECT NAME: SQUAIRRELS LEAP GUILDFORD ROAD, CHERTSEY KT16 9RU
DATE: 25TH NOVEMBER 2025
| Joinery |  |  |  |  | RATES |  |  |  | TOTALS
| Description | Quantity | Unit | Rate | Total | Labor | Materials | L Markup | M Markup | Labor | Materials | L Markup | M Markup
ARCHITRAVES
1 | Architraves | 299 | m | 29.7358 | 8891.0154 | 8.2073 | 17.65 | 1.2311 | 2.6475 | 2453.9678 | 5277.35 | 368.0952 | 791.6025
WINDOW BOARDS
2 | Window boards | 85 | m | 37.9069 | 3222.0844 | 10.4625 | 22.5 | 1.5694 | 3.375 | 889.3125 | 1912.5 | 133.3969 | 286.875
SPECIALIST JOINERY
3 | (120mm H) Splash Back | 16.98 | m | 42.9611 | 729.4799 | 11.8575 | 25.5 | 1.7786 | 3.825 | 201.3404 | 432.99 | 30.2011 | 64.9485
4 | (0.6m W) Utility Countertop | 8.12 | m | 283.8804 | 2305.1086 | 78.3525 | 168.5 | 11.7529 | 25.275 | 636.2223 | 1368.22 | 95.4333 | 205.233
5 | (0.6m W) Kitchen Countertop | 5.22 | m | 283.8804 | 1481.8556 | 78.3525 | 168.5 | 11.7529 | 25.275 | 409 | 879.57 | 61.35 | 131.9355
6 | (0.6m W x 0.8m H) Utility Cabinet At Base | 8.11 | m | 211.4361 | 1714.747 | 58.3575 | 125.5 | 8.7536 | 18.825 | 473.2793 | 1017.805 | 70.9919 | 152.6707
7 | (0.6m W x 2m H) Larder Storage w/ Shelves | 3.24 | m | 245.1311 | 794.2248 | 67.6575 | 145.5 | 10.1486 | 21.825 | 219.2103 | 471.42 | 32.8815 | 70.713
8 | (0.6m W x 0.8m H) Kitchen Cabinet At Base | 5.21 | m | 216.4904 | 1127.9149 | 59.7525 | 128.5 | 8.9629 | 19.275 | 311.3105 | 669.485 | 46.6966 | 100.4228
9 | (0.6m W x 0.7m H) Kitchen Cabinet At Above | 5.23 | m | 223.2294 | 1167.4896 | 61.6125 | 132.5 | 9.2419 | 19.875 | 322.2334 | 692.975 | 48.335 | 103.9463
10 | (0.6m W x 2.6m H) Cupboard W/ Shelves | 12.64 | m | 240.0769 | 3034.5717 | 66.2625 | 142.5 | 9.9394 | 21.375 | 837.558 | 1801.2 | 125.6337 | 270.18
11 | (1m W ) Window Seat | 2.11 | m | 227.4412 | 479.901 | 62.775 | 135 | 9.4163 | 20.25 | 132.4553 | 284.85 | 19.8683 | 42.7275
|  |  |  | Sub Total | 24948.3929 |  |  |  |  | 6885.8897 | 14808.365 | 1032.8835 | 2221.2548 | 0

## Decoration
PROJECT NAME: SQUAIRRELS LEAP GUILDFORD ROAD, CHERTSEY KT16 9RU
DATE: 25TH NOVEMBER 2025
| Decoration |  |  |  |  | RATES |  |  |  | TOTALS
| Description | Quantity | Unit | Rate | Total | Labor | Materials | L Markup | M Markup | Labor | Materials | L Markup | M Markup
WALLS
1 | White Wash Paint on Masonry Block Wall | 122.9 | m2 | 24.0077 | 2950.5448 | 6.6263 | 14.25 | 0.99394 | 2.1375 | 814.3661 | 1751.325 | 122.1549 | 262.6988
2 | White Wash Paint on Masonry Brick Wall | 613.96 | m2 | 24.0077 | 14739.7598 | 6.6263 | 14.25 | 0.99394 | 2.1375 | 4068.2525 | 8748.93 | 610.2379 | 1312.3395
3 | White Wash Paint on Plaster Board Wall | 247.81 | m2 | 24.0077 | 5949.345 | 6.6263 | 14.25 | 0.99394 | 2.1375 | 1642.051 | 3531.2925 | 246.3077 | 529.6939
CEILINGS
4 | White Wash on Moisture Resistant Plaster Board Ceiling | 35.72 | m2 | 26.1136 | 932.7787 | 7.2075 | 15.5 | 1.0811 | 2.325 | 257.4519 | 553.66 | 38.6178 | 83.049
5 | White Wash on Plaster Board Ceiling | 374.88 | m2 | 26.1136 | 9789.4757 | 7.2075 | 15.5 | 1.0811 | 2.325 | 2701.9476 | 5810.64 | 405.2921 | 871.596
Check
|  |  |  | Sub Total | 34361.9041 |  |  |  |  | 9484.0691 | 20395.8475 | 1422.6104 | 3059.3771 | 2.7285e-12

## Floor finishes
PROJECT NAME: SQUAIRRELS LEAP GUILDFORD ROAD, CHERTSEY KT16 9RU
DATE: 25TH NOVEMBER 2025
| Floor Finishes |  |  |  |  | RATES |  |  |  | TOTALS
| Description | Quantity | Unit | Rate | Total | Labor | Materials | L Markup | M Markup | Labor | Materials | L Markup | M Markup
FLOORRING
1 | Ceramic Floor Tiles | 112.69 | m2 | 74.9714 | 8448.5242 | 20.6925 | 44.5 | 3.1039 | 6.675 | 2331.8378 | 5014.705 | 349.7757 | 752.2058
2 | Engineered Wood Flooring | 277.3 | m2 | 81.7104 | 22658.287 | 22.5525 | 48.5 | 3.3829 | 7.275 | 6253.8083 | 13449.05 | 938.0712 | 2017.3575
SKIRTING
3 | 100 mm High Ceramic Tile Skirting | 85.52 | m | 39.5916 | 3385.8758 | 10.9275 | 23.5 | 1.6391 | 3.525 | 934.5198 | 2009.72 | 140.178 | 301.458
4 | 100 mm High Wood Skirting | 244.92 | m | 36.2221 | 8871.5229 | 9.9975 | 21.5 | 1.4996 | 3.225 | 2448.5877 | 5265.78 | 367.2882 | 789.867
Check
|  |  |  | Sub Total | 43364.2099 |  |  |  |  | 11968.7536 | 25739.255 | 1795.313 | 3860.8883 | 0

## Wall finishes
PROJECT NAME: SQUAIRRELS LEAP GUILDFORD ROAD, CHERTSEY KT16 9RU
DATE: 25TH NOVEMBER 2025
| Wall Finishes |  |  |  |  | RATES |  |  |  | TOTALS
| Description | Quantity | Unit | Rate | Total | Labor | Materials | L Markup | M Markup | Labor | Materials | L Markup | M Markup
EXTERIOR FINISHES
1 | Fiber Cement Cladding Manufacturer: Hardie Planks | 235.26 | m2 | 48.0154 | 11296.0971 | 13.2525 | 28.5 | 1.9879 | 4.275 | 3117.7832 | 6704.91 | 467.6675 | 1005.7365
TILES
2 | Wall Tiles @ Toilets | 33.3694 | m2 | 78.3409 | 2614.1902 | 21.6225 | 46.5 | 3.2434 | 6.975 | 721.5305 | 1551.6784 | 108.2296 | 232.7518
Check
|  |  |  | Sub Total | 13910.2874 |  |  |  |  | 3839.3136 | 8256.5884 | 575.897 | 1238.4883 | -1.0232e-12

## Kitchens & Bathrooms
PROJECT NAME: SQUAIRRELS LEAP GUILDFORD ROAD, CHERTSEY KT16 9RU
DATE: 25TH NOVEMBER 2025
| Kitchen & Bathrooms |  |  |  |  | RATES |  |  |  | TOTALS
| Description | Quantity | Unit | Rate | Total | Labor | Materials | L Markup | M Markup | Labor | Materials | L Markup | M Markup
KITCHEN
1 | Range Cooker (600mm W) | 1 | no. | 1086.6637 | 1086.6637 | 299.925 | 645 | 44.9888 | 96.75 | 299.925 | 645 | 44.9888 | 96.75
2 | Kitchen Extract | 2 | no. | 918.1887 | 1836.3775 | 253.425 | 545 | 38.0138 | 81.75 | 506.85 | 1090 | 76.0275 | 163.5
3 | DW: Dish Washer | 2 | no. | 1221.4437 | 2442.8875 | 337.125 | 725 | 50.5688 | 108.75 | 674.25 | 1450 | 101.1375 | 217.5
4 | MW: Micro Wave | 2 | no. | 1288.8338 | 2577.6675 | 355.725 | 765 | 53.3588 | 114.75 | 711.45 | 1530 | 106.7175 | 229.5
5 | WM: Washing Machine | 2 | no. | 1086.6637 | 2173.3275 | 299.925 | 645 | 44.9888 | 96.75 | 599.85 | 1290 | 89.9775 | 193.5
6 | Fridge | 2 | no. | 2105.9375 | 4211.875 | 581.25 | 1250 | 87.1875 | 187.5 | 1162.5 | 2500 | 174.375 | 375
7 | Freezer | 1 | no. | 2442.8875 | 2442.8875 | 674.25 | 1450 | 101.1375 | 217.5 | 674.25 | 1450 | 101.1375 | 217.5
8 | Kitchen Sink | 1 | no. | 985.5788 | 985.5788 | 272.025 | 585 | 40.8038 | 87.75 | 272.025 | 585 | 40.8038 | 87.75
BATHROOM
Fixtures
9 | Water Closet | 5 | no. | 1086.6637 | 5433.3187 | 299.925 | 645 | 44.9888 | 96.75 | 1499.625 | 3225 | 224.9438 | 483.75
10 | Lavatory | 6 | no. | 951.8838 | 5711.3025 | 262.725 | 565 | 39.4088 | 84.75 | 1576.35 | 3390 | 236.4525 | 508.5
11 | Bath Tub | 1 | no. | 1288.8338 | 1288.8338 | 355.725 | 765 | 53.3588 | 114.75 | 355.725 | 765 | 53.3588 | 114.75
12 | Shower | 2 | no. | 749.7138 | 1499.4275 | 206.925 | 445 | 31.0388 | 66.75 | 413.85 | 890 | 62.0775 | 133.5
13 | Utility Double Compartment Sink | 1 | no. | 985.5788 | 985.5788 | 272.025 | 585 | 40.8038 | 87.75 | 272.025 | 585 | 40.8038 | 87.75
Accessories
14 | Soap Dispenser | 3 | no. | 76.6561 | 229.9684 | 21.1575 | 45.5 | 3.1736 | 6.825 | 63.4725 | 136.5 | 9.5209 | 20.475
15 | Robe Hook | 3 | no. | 58.1239 | 174.3716 | 16.0425 | 34.5 | 2.4064 | 5.175 | 48.1275 | 103.5 | 7.2191 | 15.525
16 | (0.6m W x0.9m H) Wall Mirror | 3 | no. | 194.0832 | 582.2496 | 53.568 | 115.2 | 8.0352 | 17.28 | 160.704 | 345.6 | 24.1056 | 51.84
17 | Tooth Brush Holder | 4 | no. | 64.8629 | 259.4515 | 17.9025 | 38.5 | 2.6854 | 5.775 | 71.61 | 154 | 10.7415 | 23.1
18 | 910mm Grab Bar | 4 | no. | 86.7646 | 347.0585 | 23.9475 | 51.5 | 3.5921 | 7.725 | 95.79 | 206 | 14.3685 | 30.9
19 | Shower Curtain Rail | 3.13 | m | 98.5579 | 308.4861 | 27.2025 | 58.5 | 4.0804 | 8.775 | 85.1438 | 183.105 | 12.7716 | 27.4658
Check
|  |  |  | Sub Total | 34577.312 |  |  |  |  | 9543.5228 | 20523.705 | 1431.5284 | 3078.5558 | 1.1141e-11

## Electrical
PROJECT NAME: SQUAIRRELS LEAP GUILDFORD ROAD, CHERTSEY KT16 9RU
DATE: 25TH NOVEMBER 2025
| Electrical |  |  |  |  | RATES |  |  |  | TOTALS
| Description | Quantity | Unit | Rate | Total | Labor | Materials | L Markup | M Markup | Labor | Materials | L Markup | M Markup
LIGHTING
1 | A: Suspended IP Rated Fluorescent Luminaire | 16 | no. | 193.7463 | 3099.94 | 53.475 | 115 | 8.0213 | 17.25 | 855.6 | 1840 | 128.34 | 276
2 | P: Pendant Light | 8 | no. | 198.8005 | 1590.404 | 54.87 | 118 | 8.2305 | 17.7 | 438.96 | 944 | 65.844 | 141.6
3 | Recessed LED Downlight | 179 | no. | 205.5395 | 36791.5705 | 56.73 | 122 | 8.5095 | 18.3 | 10154.67 | 21838 | 1523.2005 | 3275.7
4 | Wall Light | 24 | no. | 192.9039 | 4629.693 | 53.2425 | 114.5 | 7.9864 | 17.175 | 1277.82 | 2748 | 191.673 | 412.2
5 | Linear LED Strip | 144.72 | m | 61.4934 | 8899.3212 | 16.9725 | 36.5 | 2.5459 | 5.475 | 2456.2602 | 5282.28 | 368.439 | 792.342
6 | Linear LED | 37.64 | m | 71.6019 | 2695.0946 | 19.7625 | 42.5 | 2.9644 | 6.375 | 743.8605 | 1599.7 | 111.5791 | 239.955
POWER
Switches
7 | Switch | 3 | no. | 24.4289 | 73.2866 | 6.7425 | 14.5 | 1.0114 | 2.175 | 20.2275 | 43.5 | 3.0341 | 6.525
8 | 2 Gang, 2 Way Switch | 10 | no. | 27.7984 | 277.9837 | 7.6725 | 16.5 | 1.1509 | 2.475 | 76.725 | 165 | 11.5088 | 24.75
9 | 2 Gang Switch | 4 | no. | 29.4831 | 117.9325 | 8.1375 | 17.5 | 1.2206 | 2.625 | 32.55 | 70 | 4.8825 | 10.5
10 | 5 Gang, 2 Way Switch | 2 | no. | 36.2221 | 72.4443 | 9.9975 | 21.5 | 1.4996 | 3.225 | 19.995 | 43 | 2.9993 | 6.45
11 | 4 Gang, 2 Way Switch | 2 | no. | 32.8526 | 65.7053 | 9.0675 | 19.5 | 1.3601 | 2.925 | 18.135 | 39 | 2.7203 | 5.85
12 | 6 Gang, 2 Way Switch | 1 | no. | 39.5916 | 39.5916 | 10.9275 | 23.5 | 1.6391 | 3.525 | 10.9275 | 23.5 | 1.6391 | 3.525
13 | 3 Gang, 2 Way Switch | 1 | no. | 31.1679 | 31.1679 | 8.6025 | 18.5 | 1.2904 | 2.775 | 8.6025 | 18.5 | 1.2904 | 2.775
14 | 3 Gang Switch | 1 | no. | 31.7575 | 31.7575 | 8.7653 | 18.85 | 1.3148 | 2.8275 | 8.7653 | 18.85 | 1.3148 | 2.8275
15 | 2 Way Switch | 12 | no. | 27.7984 | 333.5805 | 7.6725 | 16.5 | 1.1509 | 2.475 | 92.07 | 198 | 13.8105 | 29.7
16 | FR: Fire Alarm Reset Switch | 2 | no. | 41.2764 | 82.5527 | 11.3925 | 24.5 | 1.7089 | 3.675 | 22.785 | 49 | 3.4178 | 7.35
Outlets
17 | Single Data Outlet | 42 | no. | 25.0185 | 1050.7786 | 6.9053 | 14.85 | 1.0358 | 2.2275 | 290.0205 | 623.7 | 43.5031 | 93.555
18 | Twin Switched Socket Outlet | 87 | no. | 26.3663 | 2293.8714 | 7.2773 | 15.65 | 1.0916 | 2.3475 | 633.1208 | 1361.55 | 94.9681 | 204.2325
19 | TV Quad Outlet | 9 | no. | 39.5916 | 356.3246 | 10.9275 | 23.5 | 1.6391 | 3.525 | 98.3475 | 211.5 | 14.7521 | 31.725
20 | Single Socket Outlet | 26 | no. | 27.7141 | 720.5676 | 7.6493 | 16.45 | 1.1474 | 2.4675 | 198.8805 | 427.7 | 29.8321 | 64.155
21 | TV & Data Outlet | 9 | no. | 39.5916 | 356.3246 | 10.9275 | 23.5 | 1.6391 | 3.525 | 98.3475 | 211.5 | 14.7521 | 31.725
Security & Safety / Socket, Panel
22 | Mains Heat Alarm | 2 | no. | 245.1311 | 490.2623 | 67.6575 | 145.5 | 10.1486 | 21.825 | 135.315 | 291 | 20.2973 | 43.65
23 | Alarm (Type Not Specified) | 26 | no. | 213.1209 | 5541.1427 | 58.8225 | 126.5 | 8.8234 | 18.975 | 1529.385 | 3289 | 229.4078 | 493.35
24 | Lighting Control Panel | 2 | no. | 379.9111 | 759.8223 | 104.8575 | 225.5 | 15.7286 | 33.825 | 209.715 | 451 | 31.4573 | 67.65
25 | SE: Security Alarm Panel | 1 | no. | 412.7638 | 412.7638 | 113.925 | 245 | 17.0888 | 36.75 | 113.925 | 245 | 17.0888 | 36.75
26 | Photovoltaics/Solar Panels (Occupied Area= 35 M2) | 1 | no. | 277.9838 | 277.9838 | 76.725 | 165 | 11.5088 | 24.75 | 76.725 | 165 | 11.5088 | 24.75
27 | Switched Fused Connection Unit | 15 | no. | 144.2988 | 2164.4826 | 39.8273 | 85.65 | 5.9741 | 12.8475 | 597.4088 | 1284.75 | 89.6113 | 192.7125
28 | Dual Voltage Shaver Socket | 6 | no. | 44.6459 | 267.8752 | 12.3225 | 26.5 | 1.8484 | 3.975 | 73.935 | 159 | 11.0903 | 23.85
29 | Main BT Incoming Point | 1 | no. | 92.914 | 92.914 | 25.6448 | 55.15 | 3.8467 | 8.2725 | 25.6448 | 55.15 | 3.8467 | 8.2725
30 | Consumer Unit | 1 | no. | 1457.3087 | 1457.3087 | 402.225 | 865 | 60.3338 | 129.75 | 402.225 | 865 | 60.3338 | 129.75
31 | TVA: TV Distribution Amplifier | 1 | no. | 951.8838 | 951.8838 | 262.725 | 565 | 39.4088 | 84.75 | 262.725 | 565 | 39.4088 | 84.75
32 | EDD: Energy Display Device | 1 | no. | 434.6655 | 434.6655 | 119.97 | 258 | 17.9955 | 38.7 | 119.97 | 258 | 17.9955 | 38.7
33 | DB1; Board Size & Rating: 100A-20 Way SP&N Control: 100A Isolator | 1 | no. | 64.8629 | 64.8629 | 17.9025 | 38.5 | 2.6854 | 5.775 | 17.9025 | 38.5 | 2.6854 | 5.775
Allowance
34 | Wiring & Conduits | 450.34 | m | 11.5405 | 5197.1657 | 3.1852 | 6.85 | 0.47779 | 1.0275 | 1434.4455 | 3084.829 | 215.1668 | 462.7244
35 | Allowance For Wiring & Conduits | 504.58 | m2 | 21.0594 | 10626.1394 | 5.8125 | 12.5 | 0.87188 | 1.875 | 2932.8712 | 6307.25 | 439.9307 | 946.0875
Check
|  |  |  | Sub Total | 92349.1652 |  |  |  |  | 25488.8629 | 54814.759 | 3823.3294 | 8222.2139 | 0

## Mechanical & Plumbing
PROJECT NAME: SQUAIRRELS LEAP GUILDFORD ROAD, CHERTSEY KT16 9RU
DATE: 25TH NOVEMBER 2025
| Mechanical |  |  |  |  | RATES |  |  |  | TOTALS
| Description | Quantity | Unit | Rate | Total | Labor | Materials | L Markup | M Markup | Labor | Materials | L Markup | M Markup
ALLOWANCES
1 | Allowances For Mechanical Work (500 m2) | 1 | item | 4801.5375 | 4801.5375 | 1325.25 | 2850 | 198.7875 | 427.5 | 1325.25 | 2850 | 198.7875 | 427.5
HEATING SYSTEM
2 | Under Floor Heating System | 245.02 | m2 | 31.1679 | 7636.7527 | 8.6025 | 18.5 | 1.2904 | 2.775 | 2107.7846 | 4532.87 | 316.1677 | 679.9305
PLUMBING
WASTE SERVICES
3 | 32mm Soil Water Pipe | 2.03 | m | 29.4831 | 59.8507 | 8.1375 | 17.5 | 1.2206 | 2.625 | 16.5191 | 35.525 | 2.4779 | 5.3288
4 | 40mm Soil Water Pipe | 44 | m | 32.8526 | 1445.5155 | 9.0675 | 19.5 | 1.3601 | 2.925 | 398.97 | 858 | 59.8455 | 128.7
5 | 50mm Sanitary Pipe | 114 | m | 36.2221 | 4129.3223 | 9.9975 | 21.5 | 1.4996 | 3.225 | 1139.715 | 2451 | 170.9573 | 367.65
6 | 110mm Waste Pipe | 51 | m | 46.3306 | 2362.8619 | 12.7875 | 27.5 | 1.9181 | 4.125 | 652.1625 | 1402.5 | 97.8244 | 210.375
FITTINGS
7 | 110mm 45 Deg Radius Elbow | 14 | no. | 115.4054 | 1615.6753 | 31.8525 | 68.5 | 4.7779 | 10.275 | 445.935 | 959 | 66.8903 | 143.85
8 | 50mm 45 Deg Radius Elbow | 19 | no. | 105.2969 | 2000.6406 | 29.0625 | 62.5 | 4.3594 | 9.375 | 552.1875 | 1187.5 | 82.8281 | 178.125
9 | 40mm 45 Deg Radius Elbow | 24 | no. | 103.6121 | 2486.691 | 28.5975 | 61.5 | 4.2896 | 9.225 | 686.34 | 1476 | 102.951 | 221.4
10 | 32mm 45 Degree Radius Elbow | 1 | no. | 98.5579 | 98.5579 | 27.2025 | 58.5 | 4.0804 | 8.775 | 27.2025 | 58.5 | 4.0804 | 8.775
11 | 50mm Wye | 19 | no. | 127.1986 | 2416.7739 | 35.1075 | 75.5 | 5.2661 | 11.325 | 667.0425 | 1434.5 | 100.0564 | 215.175
DOMESTIC SERVICES
12 | 32mm Cold Water Pipe | 15.9 | m | 31.1679 | 495.5692 | 8.6025 | 18.5 | 1.2904 | 2.775 | 136.7798 | 294.15 | 20.517 | 44.1225
13 | 50mm Cold Water Pipe | 88.19 | m | 37.9069 | 3343.0073 | 10.4625 | 22.5 | 1.5694 | 3.375 | 922.6879 | 1984.275 | 138.4032 | 297.6413
14 | 110mm Cold Water Pipe | 11.42 | m | 48.0154 | 548.3356 | 13.2525 | 28.5 | 1.9879 | 4.275 | 151.3436 | 325.47 | 22.7015 | 48.8205
15 | 40mm Cold Water Pipe | 11.88 | m | 34.5374 | 410.304 | 9.5325 | 20.5 | 1.4299 | 3.075 | 113.2461 | 243.54 | 16.9869 | 36.531
16 | 32mm Hot Water Pipe | 14.37 | m | 31.1679 | 447.8824 | 8.6025 | 18.5 | 1.2904 | 2.775 | 123.6179 | 265.845 | 18.5427 | 39.8768
17 | 50mm Hot Water Pipe | 74.61 | m | 37.9069 | 2828.2319 | 10.4625 | 22.5 | 1.5694 | 3.375 | 780.6071 | 1678.725 | 117.0911 | 251.8088
18 | 40mm Hot Water Pipe | 14.12 | m | 34.5374 | 487.6677 | 9.5325 | 20.5 | 1.4299 | 3.075 | 134.5989 | 289.46 | 20.1898 | 43.419
FITTINGS
19 | 40mm 90 Degree Radius Elbow | 6 | no. | 105.2969 | 631.7812 | 29.0625 | 62.5 | 4.3594 | 9.375 | 174.375 | 375 | 26.1563 | 56.25
20 | 110mm 90 Degree Radius Elbow | 8 | no. | 117.0901 | 936.721 | 32.3175 | 69.5 | 4.8476 | 10.425 | 258.54 | 556 | 38.781 | 83.4
21 | 50mm 90 Degree Radius Elbow | 17 | no. | 106.9816 | 1818.6876 | 29.5275 | 63.5 | 4.4291 | 9.525 | 501.9675 | 1079.5 | 75.2951 | 161.925
22 | 32mm 90 Degree Radius Elbow | 32 | no. | 100.2426 | 3207.764 | 27.6675 | 59.5 | 4.1501 | 8.925 | 885.36 | 1904 | 132.804 | 285.6
23 | 40mm 90 Degree Radius Elbow | 6 | no. | 105.2969 | 631.7812 | 29.0625 | 62.5 | 4.3594 | 9.375 | 174.375 | 375 | 26.1563 | 56.25
24 | 50mm Tee | 33 | no. | 132.2529 | 4364.3449 | 36.5025 | 78.5 | 5.4754 | 11.775 | 1204.5825 | 2590.5 | 180.6874 | 388.575
25 | 110mm Tee | 6 | no. | 142.3614 | 854.1683 | 39.2925 | 84.5 | 5.8939 | 12.675 | 235.755 | 507 | 35.3633 | 76.05
MISC.
26 | Heat Meter | 2 | no. | 581.2388 | 1162.4775 | 160.425 | 345 | 24.0638 | 51.75 | 320.85 | 690 | 48.1275 | 103.5
27 | Heat Meter Display Unit | 1 | no. | 446.4588 | 446.4588 | 123.225 | 265 | 18.4838 | 39.75 | 123.225 | 265 | 18.4838 | 39.75
28 | Heat Interface Unit Programmed | 1 | no. | 648.6287 | 648.6287 | 179.025 | 385 | 26.8538 | 57.75 | 179.025 | 385 | 26.8538 | 57.75
29 | Grey Water Treatment Tank | 2 | no. | 1457.3087 | 2914.6175 | 402.225 | 865 | 60.3338 | 129.75 | 804.45 | 1730 | 120.6675 | 259.5
30 | Sprinkler Valve Set | 1 | no. | 98.5579 | 98.5579 | 27.2025 | 58.5 | 4.0804 | 8.775 | 27.2025 | 58.5 | 4.0804 | 8.775
Check
|  |  |  | Sub Total | 55331.166 |  |  |  |  | 15271.6974 | 32842.36 | 2290.7546 | 4926.354 | 0

## Externals
PROJECT NAME: SQUAIRRELS LEAP GUILDFORD ROAD, CHERTSEY KT16 9RU
DATE: 25TH NOVEMBER 2025
| Externals |  |  |  |  | RATES |  |  |  | TOTALS
| Description | Quantity | Unit | Rate | Total | Labor | Materials | L Markup | M Markup | Labor | Materials | L Markup | M Markup
MISC
1 | Manhole | 6 | no. | 1288.8338 | 7733.0025 | 355.725 | 765 | 53.3588 | 114.75 | 2134.35 | 4590 | 320.1525 | 688.5
PLANTING & TREES
2 | Flower Bed Re-Planted | 17.71 | m2 | 31.1679 | 551.9831 | 8.6025 | 18.5 | 1.2904 | 2.775 | 152.3503 | 327.635 | 22.8525 | 49.1453
3 | Grass/Lawn | 551.48 | m2 | 36.2221 | 19975.7775 | 9.9975 | 21.5 | 1.4996 | 3.225 | 5513.4213 | 11856.82 | 827.0132 | 1778.523
Check
|  |  |  | Sub Total | 28260.7631 |  |  |  |  | 7800.1216 | 16774.455 | 1170.0182 | 2516.1683 | 0

## Preliminaries
PROJECT NAME: SQUAIRRELS LEAP GUILDFORD ROAD, CHERTSEY KT16 9RU
DATE: 25TH NOVEMBER 2025
Preliminaries
1
| Description | Quantity | Unit | Rate | Total | Plant | Markup
1 | Site setup | 1 | Item | 1500 | 1500 |  | 0
2 | Rubbish removal; skips | 1 | no. | 1400 | 1400 |  | 0
3 | Scaffolding and safe stands | 1 | item | 1250 | 1250 |  | 0
4 | Welfare facilities | 1 | item | 850 | 850 |  | 0
5 | Small plant and tools | 1 | item | 1650 | 1650 |  | 0
6 | Protection | 1 | item | 1000 | 1000 |  | 0
7 | Temporary supplies | 1 | item | 1200 | 1200 |  | 0
8 | Lifting and propping | 1 | item | 750 | 750 |  | 0
9 | Cleaning (no allowance for sparkle clean) | 1 | item | 800 | 800 |  | 0
10 | Health & safety | 1 | item | 1100 | 1100 |  | 0
11 | Insurance | 1 | item | 1350 | 1350 |  | 0
12 | Site accommodation | 1 | item | 1650 | 1650 |  | 0
13 | Management | 1 | item | 3500 | 3500 |  | 0
|  |  |  | Sub Total | 18000

## Details
MARKUP |  |  | Total Inc Prelims | 861112.7808
Contractors Markup - Labour | 10% | 1.1 | Calculation Total | 806455.7034
[6 empty] | 56 | Weeks
Contractors Markup - Materials | 10% | 1.1
|  |  | Range 1 | 0 | No | 5000 | Yes | No
Contractors Overheads | 5% | 1.05 |  | 50000
|  |  | Range 2 | 50000 | No | 9000 | Yes | No
150000
|  |  | Range 3 | 150000 | No | 10000 | Yes | No
350000
|  |  | Range 4 | 350000 | No | 12500 | Yes | No
Trades - Day Rates | Client Day Rate £ |  |  | 500000
Groundworker | 0 |  | Range 5 | 500000 | No | 14000 | Yes | No
Bricklayer | 0 |  |  | 750000
Roofer | 0 |  | Range 6 | 750000 | Yes | 15500 | Yes | No
Tiler | 0 |  |  | 1000000
Carpenter | 0 |  | Range 7 | 1000000 | No | 16750 | Yes | No
Plasterer | 0 |  |  | 1250000
General Trade | 0 |  | Range 8 | 1250000 | No | 19000 | Yes | No
Labourer | 0 |  |  | 1500000
Decorator | 0 |  | Range 9 | 1500000 | No | 20500 | Yes | No
Plumber | 0 |  |  | 2000000
Electrician | 0 |  | Range 10 - Over | 2000000 | No | 27500 | Yes | No
500000000
|  |  | Calculation | 15500
Factor
1
1
1
1
1
1
1
1
1
1
1